| الرقم | Equipment name اسم الجهاز | الغرض من استخدامه purpose | المنشأ/ الصانع/ الموديل | العدد المطلوب | السعر الافرادي | السعر الاجمالي |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Orbital shaker incubators and clamp kit X2 | Culturing and sub culturing and maintenemce of cells Incubating transfected cells for Protein |  | 2 |  |  |
| 2 | E gel electrophoresis system with capturing system | Running PCR products -Confirming right sized gene of interest and RE |  | 1 |  |  |
| 3 | Microplate photometer system (reader and washer) | Testing antigenicity of expressed proteins and optimising assays |  | 1 |  |  |
| 4 | balance | measurements and weighing |  | 1 |  |  |
| 5 | Ph meter | buffers preparation |  | 1 |  |  |
| 6 | shaking water bath | heat shocking of recombinants cells and plasmids extraction |  | 1 |  |  |
| 7 | Bench centrifug (tube) | cell culture and protein expression |  | 1 |  |  |
| 8 | microcentauer (microcentrifuge) | pelleting of cells and |  | 1 |  |  |
| 9 | megafuge | protein and DNA purification |  | 1 |  |  |
| 10 | thermal cycler | DNA Amplification |  | 1 |  |  |
| 11 | Fridge | storage for kits, buffers… |  | 1 |  |  |
| 12 | freezer | storage of DNA materials, kits… |  | 1 |  |  |
| 13 | multichannel pipette | Dispensing liquids and culture medium, elisa optimisation |  | 2 |  |  |
| 14 | single pipettes adjustable | PCR, ELISA assays |  | 5 |  |  |
| 15 | single pipettes fixed | Dispensing liquids and culture medium, PCR |  | 5 |  |  |
| 16 | vaccum pump | media aspiration and cell culture |  | 2 |  |  |
| 17 | counting champer | cell counting |  | 2 units |  |  |

تحديد مدة التوريد والتركيب والتشغيل: