21/ل م/2023
	[image: image24.jpg]


 Simulation laboratory for conservative and endodontic treatment
	

	Item
	Item
	Unit
	Quantity
	Unit Price
	Total
	Mfg. Name
	Origin

	
	
	
	
	JD
	JD
	
	

	1
	Dental Simulation Work-Bench Unit with:
Phantom Head Including PhantomBody
with the needed Software..
Screen
	UNIT
	25
	
	
	
	

	2
	Demonstration Dental Simulation Work-Bench Unit with:
Phantom Head Including Phantom
Body with the needed Software.. 4K Specialized Demonstration
Camera (Demo System). - Screen.
	UNIT
	1
	
	
	
	

	3
	Electrical Root Canal Length Measurement Training
Model Jaw Upper
Lower [CON1002 Series] &
	UNIT
	25
	
	
	
	


توريد وتركيب وتشغيل أجهزة ومعدات مختبرات /كلية طب الاسنان

[image: image2.jpg]



	
	Simulation Laboratory for Fixed Prosthodontics
	
	

	Item
	Item
	Unit 
	Quantity
	Unit Price
	Total
	Mfg. Nama
	Origin

	
	
	
	
	JD
	JD
	
	

	1
	Dental Simulation Work-Bench Unit with:
Phantom Head Including Phantom with the needed Software.
Screen
	UNIT
	25
	
	
	
	

	2
	Demonstration Dental Simulation Work-Bench Unit with:
Phantom Head Including Phantom Body with the needed Software.
4K Specialized Demonstration
Camera (Demo System). - Screen,
	UNIT
	1
	
	
	
	

	3
	Tripod Adult X-ray Manikin Set
	UNIT
	2
	
	
	
	


[image: image1.jpg]



[image: image3.jpg]



	[image: image4.jpg]


Simulation laboratory for removable prosthodontics[image: image5.jpg]


[image: image6.jpg]





	Item
	Item
	it 
	Quantity
	Unit Price
	Total
	Origin
	Manufactu

	
	
	
	
	JD
	JD
	
	Name

	1
	Dental Laboratory Work Bench with :
Knee control Micro-motor
Phantom Head Rail Unit with (Edentulous Jaw Model).
Air Nozzle with Dust Suction.
Induction Heat Source.- Screen
	UNIT
	25
	
	
	
	

	2
	Demonstration Dental Laboratory Work Bench ith:
Knee control Micro-motor
Phantom Head Rail Unit with (Edentulous Jaw Model).
Air Nozzle with Dust Suction.
Induction Heat Source.
4K Specialized Demonstration Camera
(Demo System). - Screen.
	UNIT
	1
	
	
	
	

	3
	Semi Adjustable Articulators with Face Bow
	U nit
	13
	
	
	
	

	4
	Dental Cabinet (HIGH MEDICAL QUALITY) with:
· 2 Sinks
· Storage Drawers and Cabinets
	Unit
	2
	
	
	
	


[image: image7.jpg]



	
polishing Lab & Plaster Lab / SECOND FLOOR
[image: image8.jpg]


[image: image9.jpg]





	Item
	Item
	Unit
	Quantity
	Unit Price
	Total
	Origin
	Manufacturer

	. No
	
	
	
	JD
	JD
	
	Name

	1
	All cabinets Made of High Quality Stainless Steel
9 x WALL CABINET FOR PLASTER-POLISING ROOM (1 METER)
1 x FUME HOOD FOR WALL
2 x POLISHING MACHINE WITH TABLE AND VACUUM
1 x MUFFLE BOILING AND WASHING MACHINE
1 x MUFFLE BOILING MACHINE
1 x FUME HOOD FOR ACRYLIC
20 x MECHANIC PRESS
3 x PLASTER TANK WITH VIBRATION FOR WALL
3 x VIBRATION DEVICE
4 x STAINLESS STEEL CABINET WITH SINK
3 x PLASTER MODEL TRIMMER
7 x STAINLESS STEEL CABINET
2 x PRESS TABLE STAINLESS STEEL WITH GARBAGE CONTAINER
1 x LABORATORY FURANCE
1 x PORCELAIN OVEN
1 X INDICATION
CASTING MACHINE
1 X SAND BLASTING
MACHINE
All Quantities mentioned are for the 2 rooms together.
	UNIT
	2
	
	
	
	

	[image: image10.jpg]


 OTHER [image: image11.jpg]


[image: image12.jpg]



[image: image13.jpg]





	Item
	Item
	Unit
	Quantity
	Unit Price
	Total
	Origin
	Manufactu

	.No
	
	
	
	JD
	JD
	
	Name

	1 
	Average
Value
Articulator
	Unit
	25
	
	
	
	

	2
	Dental
Surveyor
	UNIT
	3
	
	
	
	


	
	[image: image14.jpg]PERIODONTOLOGY LAB




	[image: image15.jpg]




	Item
	Item
	Unit
	Quantity
	unit Price
	Total
	Origin
	Manufac

	
	
	
	
	JD
	JD
	
	Nam.

	1
	Dental Simulation Work Bench with
· Phantom Head Rail Unit with (Scaling Training Jaw
Model)
· Screen
· Built-In Ultrasonic Scaler.
	UNIT
	25
	
	
	
	

	2
	Demonstration Dental Simulation Work Bench with: - Phantom Head Rail Unit with (Scaling Training Jaw Model) - BuiltIn Ultrasonic Scaler.
4K Specialized Demonstration Camera (Demo System) Also Equipped with Ultrasonic scaler.
Screen.
	UNIT
	1
	
	
	
	

	3
	PERIODONTAL DISEASE
PERIODONTAL DISEASE
PERIODONTAL DISEASE
PATHOLOGICAL STUDY
PERIODONTAL DISEASE
PERIODONTAL DISEASE/PERI-IMPLANT DISEASE
MODEL [PE-PER015J
	UNIT
	6
	
	
	
	

	4
	Conduction Anesthesia
	UNIT
	4
	
	
	
	


[image: image16.jpg]



	[image: image21.jpg]


Dental Materials
Laboratory

	Item
	Item
	Unit 
	Quantity
	Unit Price
	Total
	Origin
	Manufacturer

	. No
	
	
	
	JD
	JD
	
	Name

	1
	Dental Laboratory Work Bench with:
Air Nozzle.
Induction Heat
Source.- Screen
	UNIT
	25
	
	
	
	

	2
	Dental Demonstration Laboratory Work
Benchwith:
· Air Nozzle.
Induction Heat Source.
· 4K Specialized Demonstration Camera (Demo System).
· Screen
	UNIT
	1
	
	
	
	

	3
	Dental cabinet (HIGH MEDICAL QUALITY) with
· 2 Sinks
· Storage Drawers and Cabinets
	UNIT
	2
	
	
	
	

	[image: image22.jpg]


DENTAL AND ORAL
PATHOLOGY
LABORATORY

	Item
	Item
	Unit 
	Quantity
	Unit Price
	Total
	Origin
	Manufacturer

	.No
	
	
	
	JD
	JD
	
	Name

	1
	Dental Laboratory Basic Work
Bench with:
- Screen.
	UNIT
	25
	
	
	
	

	2
	Dental Demonstration Laboratory Basic Work Bench with:
4K Specialized DemonstrationCamera (Demo System).
- Screen.
	UNIT
	1
	
	
	
	

	[image: image23.jpg]


DENTAL AND ORAL
HISTOLOGY LABORATORY
	
	
	[image: image17.jpg]




	Item
	Item
	Unit 
	Quantity
	unit Price
	Total
	Origin
	Manufacturer

	. NO
	
	
	
	JD
	JD
	
	Name

	1
	Dental Laboratory Basic Work Bench with : - Screen.
	UNIT
	25
	
	
	
	

	2
	Dental Demonstration Laboratory Basic
Work Bench with: - 4K Specialized
Demonstration Camera (Demo System). Screen.
	UNIT
	1
	
	
	
	


	

	[image: image18.jpg]


Polishing Lab & Plaster Lab FIRST FLOOR
	[image: image19.jpg]




	Item
	Item
	Unit 
	Quantity
	unit Price
	Total
	Origin
	Manufacturer

	.NO
	
	
	
	JD
	JD
	
	Name

	1
	All cabinets Made of High Quality Stainless Steel 9 x WALL CABINET FOR PLASTER-POLISING ROOM (1 METER)
1 x FUME HOOD FOR WALL
2 x POLISHING MACHINE WITH TABLE AND
VACUUM
1 x MUFFLE BOILING AND WASHING MACHINE
1 x MUFFLE BOILING MACHINE 1 x FUME HOOD FOR ACRYLIC
20 x MECHANIC PRESS
3 x PLASTER TANK WITH VIBRATION FOR WALL
3 x VIBRATION DEVICE
4 x STAINLESS STEEL CABINET WITH SINK
3 x PLASTER MODEL TRIMMER
7 x STAINLESS STEEL CABINET
2 x PRESS TABLE STAINLESS STEEL WITH GARBAGE CONTAINER
All Quanüties mentioned are for the 2 rooms together.
	UNIT
	2
	
	
	
	


[image: image20.jpg]



