عطاء رقم 25/ل ر/2022

توريد وتركيب وتشغيل أجهزة ومواد مخبرية/ كلية العلوم

|  | Item | المرحلة/ البند | Amount | Description |
| --- | --- | --- | --- | --- |
|  | Bacterial identification system | 1/1 | 1 set | The bacterial identification system should provide us with all instruments and accessories required to isolate, and identify bacterial and fungal isolates and to characterize their antibiotic-resistant profile and mechanisms. The system includes: |
| 1.a. | 1. a. Instrument to identify bacterial and fungal species and their antibiotics resistant profile (including all accessories and kits). |  | 1 |  |
| 1.b. | 1. b. Bacterial incubator shaker + clamps |  | 1 | (12*250 mL and 6*500 mL): Capacity: 16*250 mL flasks, RT: up to 50˚C. RPM: up to 400rpm |
| 1.c. | Bacterial incubator |  | 1 | RT: up to 70C |
| 1.d. | Benchtop autoclave |  | 1 | capacity 12-18L |
| 1.e. | Cabinet biological safety class 2 |  | 1 |  |
| 1.f. | 96 well plates spectrophotometer for fluorescence assay |  | 1 |  |
| 1.g. | fluorescent microscope |  | 1 |  |
| 1.h | UV- visible Spectrophotometer |  | 1 |  |
| 1.i | Vertical Protein Electrophoresis Set |  | 1 | (1. Power Supply, 2. adjustable 2–20 µl Micropipet , 3. Gel Loading Pipet Tips, 4. 2-gel vertical electrophoresis system, includes electrode assembly, tank, lid with power cables, mini cell buffer dam., 5. 10-well sample loading guides, 6. gel staining trays) |
|  | Multi channel pipet 8 | 1/2 | 1 | Adjustable 50-200 µL |
|  | Multi channel pipet 12 | 1/2 | 1 | Adjustable 2-50 µL |
|  | Digital biological microscope | 1/6 | 1 | - with a separate full HD screen. - Data Output USB and HDMI - Storage at least 8G. - With a Brightness Adjustable Illumination system. - high Photo Resolution |
|  | Cabinet biological safety class 2 | 2/1 | 1 | - |
|  | CO2 incubator | 2/2 | 1 | - |
|  | tDCS brain stimulator | 2/6 | 1 | The device is a tDCS but possible to conduct it to ACS. AC/DC currents - ONE channel stimulation is either anodal/cathodal. - Stimulator should display the current dose, time duration, and frequency. - Current intensity 0.1 -5mA Frequency phase free adjusted up to 200 Hz - Duration of stimulation 5-40 minutes. |
|  | simNeuron: virtual physiology set for voltage and current measurement in neurons | 2/7 | 1 | It’s a program used for Virtual physiology for voltage and current measurement in neurons/ muscles/ hearts and vessels. - Virtual physiology programs. Set contains; Sim-neuron, Sim-muscle; Sim-vessels, Sim-heart. |
|  | Chemistry analyzer (+ reagents) | 3/1 | 1 | Full or semi-automated chemistry analyzer |
|  | Hormone analyzer (+reagents) | 3/1 | 1 | Full or semi-automated hormone analyzer |
|  | Morine hydrate | 1/3 | 20 g | - |
|  | Kaempferol | 1/3 | 50 mg | - |
|  | Vitexin | 1/3 | 50 mg | - |
|  | Rosmarinic acid | 1/3 | 20 mg | - |
|  | Alginate | 1/3 | 1 g | - |
|  | boric acid/H2SO4 (4:1) | 3/2 | 10 ml | - |
|  | Farnesene | 3/2 | 100 g | - |
|  | phellandrene | 3/2 | 100g | - |
|  | camphene | 3/2 | 50 g | - |
|  | cadinene | 3/2 | 5 g | - |
|  | sabinene | 3/2 | 5 g | - |
|  | viridiflorol | 3/2 | 25 mg | - |
|  | Glutathione reductase enzyme | 3/2 | 1 g |  |
|  | Cell culture media DMEM | 2/3 | 10 L | - |
|  | Cell culture media RPIM | 2/3 | 10 L | - |
|  | Cell culture media FBS | 2/3 | 3 L | - |
|  | SOD Assay Kit | 3/2 | 1 kit | assessment of oxidative damage in bacteria |
|  | Catalase Assay Kit | 3/2 | 1 kit | assessment of oxidative damage in bacteria |
|  | Glutathione Assay Kit | 3/2 | 1 kit | assessment of oxidative damage in bacteria |
|  | MDA assay kit | 3/2 | 1 kit | assessment of oxidative damage in bacteria |
|  | Lipopolysaccharide (LPS) | 3/3 | 100 mg |  |
|  | cDNA kit | 3/4 | 200 reaction |  |
|  | Prokaryotic RNA extraction kit | 3/4 | 200 reaction |  |
|  | Eukaryotic RNA extraction kit | 3/4 | 100 reaction |  |
|  | Cisplatin | 3/4 | 500 mg |  |
|  | Sybergreen | 3/5 | 200 reaction |  |
|  | MTT | 3/5 | 1 g |  |
|  | Elisa Kit: beta catenin | 3/7 | 1 kit | Apoptosis |
|  | Elisa Kit: cyclin D1 | 3/7 | 1 kit | Apoptosis |
|  | Elisa Kit: BAX | 3/7 | 1 kit | Apoptosis |
|  | Elisa Kit: P53 | 3/7 | 1 kit | Apoptosis |
|  | Elisa Kit: interleukin 1 beta | 3/8 | 1 kit | Anti-inflammatory |
|  | Elisa Kit: TNF alpha | 3/8 | 1 kit | Anti-inflammatory |
|  | Elisa Kit: COX-1 | 3/8 | 1 kit | Anti-inflammatory |
|  | Elisa Kit: COX-2 | 3/8 | 1 kit | Anti-inflammatory |
|  | Elisa Kit: alpha AAT | 3/8 | 1 kit | Anti-inflammatory |
|  | Elisa Kit: CRP | 3/8 | 1 kit | Anti-inflammatory |
|  | Elisa Kit: SOD | 3/9 | 1 kit | Antioxidant |
|  | Elisa Kit: CAT | 3/9 | 1 kit | Antioxidant |
|  | Elisa Kit: GPX | 3/9 | 1 kit | Antioxidant |
|  | Elisa Kit: GR | 3/9 | 1 kit | Antioxidant |
|  | Elisa Kit: GST | 3/9 | 1 kit | Antioxidant |
|  | 96 well plate | 1/4 | 500 plates | For cell culture |
|  | 24 well plate | 2/5 | 100 plates | For cell culture |
|  | 12 well plate | 2/5 | 100 plates | For cell culture |
|  | 6 well plate | 2/5 | 50 plates | For cell culture |
|  | ## Nisin | 1/5 | 5 g |  |
|  | ## piperacillin | 1/5 | 2 g |  |
|  | ## pyridine | 1/5 | 1 L |  |
|  | e 2′, 7′-bis-(2-carboxyethyl)-5 (and6) carboxyfluorescein, acetoxymethyl ester (BCECF) | 2/3 | 500 mg |  |
|  | 19 3,30 -dipropylthiadicarbocyanine iodide [DiSC3(5)] | 2/4 | 500 mg |  |
|  | Fluorescent labeled D-amino acids (HADA) | 2/4 | 200 mg |  |
|  | Trypan blue stain | 2/4 | 200 g |  |
|  | Poly (lactic-co-glycolic acid) (PLGA) | 2/4 | 500 mg |  |
|  | polyvinyl alcohol | 2/4 | 1 Kg |  |
|  | Primers | 3/6 | 35 primers | See attached table |

Primers

|  | Gene name or symbol | Primer sequence |
| --- | --- | --- |
| 1 | beta-Catenin H | Forward: 5'-GTT CGT GCA CAT CAG GAT AC-3' Reverse: 5'-CGA TAG CTA GGA TCA TCC TG-3' |
| 2 | Cyclin D1 H | Forward: 5'-ACC TGA GGA GCC CCA ACA A-3' Reverse: 5'-TCT GCT CCT GGC AGG CC-3' |
| 3 | GAPDH H | Forward: 5′- TGTTGCCATCAATGACCCCTTC-3′ Reverse: 5′-CTCCACGACGTACTCAGCGC-3′ |
| 4 | BAX H | Forward:5'-TGGAGCTGCAGAGGATGATTG -3' Reverse: 5'- TGCCACTCGGAAAAAGACCT -3' |
| 5 | IL- 1β H | Forward:5'- ATGGCAACTGTTCCTGAACTCAAC -3' Reverse:5'- CAGGACAGGTATAGATTCTTTCCTTT -3' |
| 6 | TNF-α H | Forward:5'- ATGAGCACAGAAAGCATGATCCG -3' Reverse: 5'- TCACAGAGCAATGACTCCAAAGTAG -3' |
| 7 | Catalase H | Forward5′-AAG ACA ATG TCA CTC AGG TGC GGA-3' Reverse5′-GGC AAT GTT CTC ACA CAG GCG TTT-3′ |
| 8 | GPx H | Forward5′-CTC GGT TTC CCG TGC AAT CAG-3′ Reverse 5′-GTG CAG CCA GTA ATC ACC AAG-3′ |
| 9 | SOD H | Forward5’-CTCACTCTCAGGAGACCATTGC-3’ Reverse5’-CCACAAGCCAAACGACTTCCAG-3’ |
| 10 | P53 H | Forward 5’-CCTCAGCATCTTATCCGAGTGG-3’ Reverse5’-TGGATGGTGGTACAGTCAGAGC-3’ |
| 11 | Caspase3 H | Forward 5’-GGAAGCGAATCAATGGACTCTGG-3’ Reverse 5’-GCATCGACATCTGTACCAGACC-3’ |
| 12 | Caspase 8 H | Forward 5’- AGAAGAGGGTCATCCTGGGAGA -3’ Reverse 5’- TCAGGACTTCCTTCAAGGCTGC -3’ |
| 13 | Caspase 9 H | Forward 5’- GTTTGAGGACCTTCGACCAGCT -3’ Reverse 5’- CAACGTACCAGGAGCCACTCTT -3’ |
| 14 | Caspase 6 H | Forward 5’- AGGTGGATGCAGCCTCCGTTTA-3’ Reverse 5’- ATGAGCCGTTCACAGTTTCCCG-3’ |
| 15 | Bcl-2 H | Forward 5’ATCGCCCTGTGGATGACTGAGT -3’ Reverse5’GCCAGGAGAAATCAAACAGAGGC-3’ |
| 16 | AKT H | Forward: 5’- TGGACTACCTGCACTCGGAGAA -3’ Reverse: 5’- GTGCCGCAAAAGGTCTTCATGG -3’ |
| 17 | ERK H | Forward: 5’- GTCTTCCATGTCAGAGTCACCTG-3’ Reverse: 5’- CCAGGTCAAAGCCAACACCGTA-3’ |
| 18 | COX1 H | Forward 5’-GATGAGCAGCTTTTCCAGACGAC-3’ Reverse 5’-AACTGGACACCGAACAGCAGCT-3’ |
| 19 | COX2 H | Forward 5’- CGGTGAAACTCTGGCTAGACAG-3’ Reverse 5’- GCAAACCGTAGATGCTCAGGGA-3’ |
| 20 | Insulin receptor H | Forward 5’- GCAACATCACCCACTACCTGGT-3’ Reverse 5’- GAATGGTGGAGACCAGGTCCTC-3’ |
| 21 | Insulin H | Forward 5’- ACGAGGCTTCTTCTACACACCC-3’ Reverse 5’- TCCACAATGCCACGCTTCTGCA-3’ |
| 22 | Pancreatic amylase H | Forward 5’- GATAATGGGAGCAACCAAGTGGC-3’ Reverse 5’- CAGTATGTGCCAGCAGGAAGAC-3’ |
| 23 | Glut-4 | Forward 5’- CCATCCTGATGACTGTGGCTCT-3’ Reverse 5’- GCCACGATGAACCAAGGAATGG-3’ |
| 24 | Bad H | Forward 5’ CCAACCTCTGGGCAGCACAGC-3’ Reverse5’ TTTGCCGCATCTGCGTTGCTGT-3’ |
| 25 | P21 H | Forward 5’ AGGTGGACCTGGAGACTCTCAG-3’ Reverse: TCCTCTTGGAGAAGATCAGCCG-3’ |
| 26 | mTOR | Forward: 5’- AGCATCGGATGCTTAGGAGTGG -3’ Reverse: 5’- CAGCCAGTCATCTTTGGAGACC -3’ |
| 27 | EF-2 | Forward 5’- CCTCTACCTGAAGCCAATCCAG -3’ Reverse 5’- CCGTCTTCACCAGGAACTGGTC -3’ |
| 28 | lasI | Forward 5'-TTG CTC GCC GCA CAT CTG-3' |
|  |  | Reverse 5'-ATC ATC TTC TCC ACG CCT AC-3' |
| 29 | lasR | Forward 5'-ACC GTT TCA TAG AGT CGG TC-3' |
|  |  | Reverse 5'-ACC ACT GCA ACA CTT CCT TC-3' |
| 30 | rhlI | Forward 5'-TCT TCA TCG AGA AGC TGG GC-3’ |
|  |  | Reverse 5'-ACG ATG TAG CGG GTT TGC G-3’ |
| 31 | rhlR | Forward 5'-TGA TGT CCA ACC CGG TCT G-3’ |
|  |  | Reverse 5'-TCG AAC TTC TTC TGG ATG TTC-3’ |
| 32 | rpoD | Forward 5'-ACG AGG AAG AAG AAA GCG-3’ |
|  |  | Reverse 5'-ACC AGC TTG ATC GGC ATG-3’ |
| 33 | blaTEM | Forward 5’- AGAGTATGAGTATTCAACATT-3’ |
|  |  | Reverse 5’-ATCTCAGCGATCTGTCTAT-3’ |
| 34 | blaSHV | Forward 5’-GGGTTATTCTTATTTGTCGCT-3’ |
|  |  | Reverse 5’-TAGCGTTGCCAGTGCTCG-3’ |
| 35 | blaCTX-M | Forward 5’-TTTGCGATGTGCAGTACCAGTAA-3’ |
|  |  | Reverse 5’-CGATATCGTTGGTGGTGCCATA-3’ |

على ان تكون المواد مبينة حسب الكشف أدناه:

| رقم البند | اسم المادة | الوحدة | الكمية | المنشأ/ الصانع/ الموديل | السعر الافرادي للوحدة | السعر الإجمالي للوحدة | التسليم |
| --- | --- | --- | --- | --- | --- | --- | --- |